As at 28 March 2013, Snowy Hydro Limited is no longer required to monitor discharge variations. Refer to licence variation number 1512354 on the NSW EPA website for more information.

**Concentration Limits**

**Sampling Method:** Grab Sample

**Pollutant:** TPH

**Percentile concentration limits:**

|  |  |  |
| --- | --- | --- |
| **50%** | **90%** | **100%** |
| 8 | 10 | 15 |

**Sampling frequency:** Monthly

| **Monitoring Period** | **Date Published** | **Result (mg/L)** |
| --- | --- | --- |
|
| March 2012 | 21/03/12 | <0.1 |
| April 2012 | 20/04/12 | <0.1 |
| May 2012 | 15/05/12 | 1.1 |
| June 2012 | 12/06/12 | <0.1 |
| July 2012 | 10/07/12 | <0.1 |
| August 2012 | 14/08/12 | <0.1 |
| September 2012 | 12/09/12 | <0.1 |
| October 2012 | 15/10/12 | <0.1 |
| November 2012 | 13/11/12 | <0.1 |
| December 2012 | 11/12/12 | <0.1 |
| January 2013 | 10/01/13 | <0.1 |
| February 2013 | 12/02/13 | <0.1 |
| March 2013 | 27/03/13 | <0.1 |
| April 2013 | 16/04/13 | <0.1 |
| May 2013 | 4/06/13 | <0.1 |
| June 2013 | 14/06/13 | <0.1 |
| July 2013 | 23/07/13 | <0.1 |
| August 2013 | 15/08/13 | <0.1 |
| September 2013 | 10/09/13 | <0.1 |
| October 2013 | 11/10/13 | 0.1 |
| November 2013 | 11/11/13 | <0.1 |
| December 2013 | 12/12/13 | <0.1 |
| January 2014 | 22/01/14 | <0.1 |
| February 2014 | 12/02/2014 | <0.1 |
| March 2014 | 12/03/14 | 0.2 |
| April 2014 | 11/04/14 | <0.1 |
| May 2014 | 20/05/14 | <0.1 |
| June 2014 | 16/06/14 | <0.1 |
| July 2014 | 14/07/14 | <0.1 |
| August 2014 | 18/08/14 | <0.1 |
| September 2014 | 08/09/14 | <0.1 |
| October 2014  | 15/10/14 | <0.1 |
| November 2014 | 10/11/14 | <0.1 |
| December 2014 | 17/12/14 | <0.1 |
| January 2015 | 15/01/15 | <0.1 |
| February 2015 | 12/02/15 | <0.1 |
| March 2015 | 12/03/15 | <0.1 |
| April 2015 | 15/04/15 | <0.1 |
| May 2015 | 13/05/15 | <0.1 |
| June 2015 | 09/06/15 | 0.1 |
| July 2015 | 14/09/15 | <0.1 |
| August 2015 | 10/08/15 | <0.1 |
| September 2015 | 15/09/15 | <0.1 |
| October 2015 | 19/10/15 | <0.1 |
| November 2015 | 11/11/15 | <0.1 |
| December 2015 | 12/12/15 | <0.1 |
| January 2016 | 13/01/16 | <0.1 |
| February 2016 | 08/02/16 | <0.1 |
| March 2016 | 15/03/16 | <0.1 |
| April 2016 | 12/04/16 | <0.1 |
| May 2016 | 12/05/16 | <0.1 |
| June 2016 | 15/06/16 | <0.1 |
| July 2016 | 08/07/16 | <0.1 |
| August 2016 | 10/08/16 | <0.1 |
| September 2016 | 12/09/16 | <0.1 |
| October 2016 | 13/10/16 | <0.1 |
| November 2016 | 15/11/16 | <0.1 |
| December 2016 | 19/12/16 | <0.1 |
| January 2017 | 16/01/17 | <0.1 |
| February 2017 | 15/02/17 | <0.1 |
| March 2017 | 15/03/17 | <0.1 |
| April 2017 | 12/04/17 | <0.1 |
| May 2017 | 11/05/17 | <0.1 |