As at 28 March 2013, Snowy Hydro Limited is no longer required to monitor discharge variations. Refer to licence variation number 1512354 on the NSW EPA website for more information.

**Concentration Limits**

**Sampling method:** Grab Sample

**Pollutant:** TPH

**Percentile concentration limits:**

|  |  |  |
| --- | --- | --- |
| **50%** | **90%** | **100%** |
| 8 | 10 | 15 |

**Sampling frequency:** Monthly

| **Monitoring Period** | **Date Published** | **Result (mg/L)** |
| --- | --- | --- |
|
| March 2012 | 02/04/12 | <0.05 |
| April 2012 | 08/05/12 | <0.05 |
| May 2012 | 14/06/12 | <0.05 |
| June 2012 | 10/07/12 | <0.05 |
| July 2012 | 07/08/12 | <0.05 |
| August 2012 | 10/09/12 | <0.05 |
| September 2012 | 12/10/112 | <0.05 |
| October 2012 | 09/11/12 | 0.45 |
| November 2012 | 23/11/12 | <0.05 |
| December 2012 | 08/01/13 | <0.05 |
| January 2013 | 5/02/13 | <0.05 |
| February 2013 | 25/02/13 | <0.05 |
| March 2013 | 25/03/13 | <0.05 |
| April 2013 | 23/04/13 | <0.05 |
| May 2013 | 4/06/13 | <0.05 |
| June 2013 | 2/07/13 | <0.05 |
| July 2013 | 30/07/13 | <0.05 |
| August 2013 | 20/8/13 | <0.05 |
| September 2013 | 20/09/13 | <0.05 |
| October 2013 | 20/11/13 | <0.05 |
| November 2013 | 20/11/13 | <0.05 |
| December 2013 | 13/12/13 | <0.05 |
| January 2014 | 24/01/2014 | <0.05 |
| February 2014 | 10/03/14 | <0.1 |
| March 2014 | 18/03/14 | <0.05 |
| April 2014 | 30/04/14 | 0.05 |
| May 2014 | 20/05/14 | <0.05 |
| June 2014 | 18/06/14 | <0.05 |
| July 2014 | 14/07/14 | <0.05 |
| August 2014 | 18/08/14 | <0.05 |
| September 2014 | 16/09/14 | <0.05 |
| October 2014 | 14/10/14 | <0.05 |
| November 2014 | 17/11/14 | <0.05 |
| December 2014 | 17/12/14 | <0.05 |
| January 2015 | 20/01/15 | <0.05 |
| February 2015 | 23/02/15 | <0.05 |
| March 2015 | 24/03/15 | <0.05 |
| April 2015 | 22/04/15 | <0.05 |
| May 2015 | 18/05/15 | <0.05 |
| June 2015 | 17/06/15 | <0.05 |
| July 2015 | 15/07/15 | <0.05 |
| August 2015 | 24/08/15 | <0.05 |
| September 2015 | 21/09/15 | <0.05 |
| October 2015 | 21/10/15 | <0.05 |
| November 2015 | 23/11/15 | <0.05 |
| December 2015 | 17/12/15 | <0.05 |
| January 2016 | 29/01/16 | <0.05 |
| February 2016 | 17/02/16 | <0.05 |
| March 2016 | 26/03/16 | <0.05 |
| April 2016 | 20/04/16 | <0.05 |
| May 2016 | 26/05/16 | <0.05 |
| June 2016 | 20/06/16 | <0.05 |
| July 2016 | 18/07/16 | <0.05 |
| August 2016 | 15/09/16 | <0.05 |
| September 2016 | 20/09/16 | <0.05 |
| October 2016 | 18/10/16 | <0.05 |
| November 2016 | 17/11/16 | <0.05 |
| December 2016 | 13/12/16 | <0.05 |
| January 2017 | 31/01/17 | <0.05 |
| February 2017 | 22/02/17 | <0.05 |
| March 2017 | 22/03/17 | <0.05 |
| April 2017 | 18/04/17 | <0.05 |
| May 2017 | 22/05/17 | <0.05 |